BSL-2 Laboratory

Standard Operating Procedures (SOPs)

This SOPs document should include specific information for the laboratories and procedures being performed.  It is meant to give detail in addition to UNLV’s adopted standard BSL-2 procedures* (pages 10-13) and Exposure Control Plan (available through rms.unlv.edu).

All faculty, staff and students should familiarize themselves with these procedures and sign page 9 prior to starting work in this BSL-2 laboratory.  Questions should be directed to the Principal Investigator.  A copy of the SOPs must be forwarded to the UNLV Biosafety Officer and a copy must be retained in the laboratory’s Biosafety Manual.

Title of Project: Title

Principal Investigator: PI

1. Agent Description: The following agent (i.e. bacteria, virus, fungi, etc.), name of agent (genus and species) and strain of agent will be utilized in this procedure.

- Description of agent(attach MSDS if available):  Whole blood, plasma, serum, isolated DNA, isolated leukocytes, saliva

- Strain of agent (if applicable):

2. Location of Procedures:

| Bld/Room Number (One room per line) | List Procedures Performed (sample analysis, plating, incubation, storage, etc.) | Major Safety Equipment Available (BSC, bench top shield, autoclave, etc.) |
| --- | --- | --- |
| BHS ### | Sample collection, manipulation, analysis, plating, storage | Bench top shield, safety shower, |
| MPE ### | Sample collection, manipulation, analysis | Class II BSC |
| MPE ### | Sample collection, manipulation, analysis | Portable class I BSC |

Insert rows as needed

2a. Description of procedures: (Based on the previous table, provide a brief step by step description of what personnel working in the lab will actually do with the material/agent listed above.)

Saliva collection: Saliva will be obtained via the passive drool collection technique in one of the Exercise Physiology Laboratories (MPE ###, MPE ###, BHS ###).  Research team members will demonstrate to participants on how to collect their own sample.  After collection the participant will drop the sample into a bag held open by a member of the research team. This will enable that the research team members have no contact with the saliva sample until analysis in the laboratory. Saliva samples will be collected by the Principle Investigator or a member of the research team who has completed the following RMS training protocols:  Personal Protective Equipment, Biosafety, Blood Borne Pathogens, and Chemical Hygiene.  Participants will immediately wash their hands, or use hand sanitizer after saliva collection. Each 2 mL saliva sample will be collected in a cryovial through a 2 inch straw inserted into the cryovial by the participant.

Whole blood collection: Whole blood will be obtained via finger-stick utilizing aseptic technique performed under sterile conditions in one of the Exercise Physiology Laboratories (MPE ###, MPE ###, BHS ###). 600 µL of blood will be drawn by means of a single-use lancet into a capillary blood collection tube (research team members obtaining the blood draw will wear the following personal protective equipment: gloves, laboratory coat, protective glasses). The safety lancet will be immediately discarded into a biohazard sharps container. The capillary collection portion of the tube will be immediately discarded into a biohazard bag, and the tube will be sealed using the screw-top mechanism. Sterile gauze will be applied to the fingertip, and at least one minute of direct pressure will be applied to the site after the draw has been completed. If bleeding continues, a bandage will be applied. Gauze will be discarded into a biohazard bag upon completion. The immediate area of the blood draw will be wiped down using a 1% sodium hypochlorite solution.

Sample Transportation: Saliva and/or whole blood samples will be transported by a member of the research team between Exercise Physiology Laboratories for manipulation (from MPE ### or MPE ### to BHS ###) or from the Exercise Physiology Laboratories (MPE ###, MPE ###, BHS ###) to the Nursing/Allied Health Sciences Core Laboratory (BHS 120) for analysis on the ABX Micros 60. Isolated leukocytes will be transported by a member of the research team from the Exercise Physiology Laboratory to the Genomics Core Laboratory (SEB 3122-3124) for analysis on the BD FACSCalibur. Sealed tubes (either screw-top or click-top) containing saliva/whole blood/isolated leukocyte samples will be placed inside sealed bags within a biohazard labeled container lined with absorbent material, that has a rigid secure latching mechanism for transport.

Saliva Manipulation: Assays will be performed in the Exercise Physiology Laboratory located in BHS ###. During manipulation, research team members will wear the following personal protective equipment: gloves, laboratory coat, and protective glasses. An ELISA procedure will be used to analyze salivary biomarkers (see ELISA procedure below). Once samples are added to appropriate wells, sample tubes will be capped and the remainder will be discarded into a biohazard bag.

Whole Blood Manipulation for Serum/Plasma: Whole blood will be collected into non-treated tubes for serum, or anticoagulant-treated tubes for plasma according to the technique previously described (see Whole blood collection). Manipulation will be performed in the Exercise Physiology Laboratory located in BHS ###, MPE ###, or MPE ###. During manipulation, research team members will wear the following personal protective equipment: gloves, laboratory coat, and protective glasses. Tubes for plasma will be counterbalanced and centrifuged for 5-15 min (depending on protocol). Plasma will be pipetted into a new tube, and the cap will be secured prior to storage at -80 degrees Celcius. The tube containing the remaining packed cells will be securely closed, and disposed of in a biohazard bag. The pipette tip will be dosposed of into a semi-rigid container (such as a small cardboard box). This container will be disposed of in a biohazard bag one it is two-thirds full. Whole blood in tubes for serum will be allowed to clot (for at least 30-min, depending on protocol) and then centrifuged for 5-30 min (depending on protocol). Tubes will be opened either behind a benchtop shield or in a class I BSC. Serum will be pipetted into a new tube, and the cap will be secured prior to storage at -80 degrees Celcius. The tube containing the remaining packed cells will be securely closed, and disposed of in a biohazard bag. The pipette tip will be dosposed of into a semi-rigid container (such as a small cardboard box). The immediate area of the serum/plasma manipulation procedure and all pipettes and centrifuges used in this procedure will be wiped down with a 1% sodium hypochlorite solution followed by 70% alcohol to remove the sodium hypochlorite.

DNA Isolation Protocol: DNA will be isolated in BHS ### using a commercially available kit (Wizard Genomic DNA Purification Kit, catalog #A1120, Promega Corporation, Madison, WI). Team members completing the DNA isolation procedure will wear the following personal protective equipment: gloves, laboratory coat, protective glasses. Whole blood (400 µL) will be pipetted into a 1.5 mL tube containing 1000 µL of Cell Lysis Solution (the pipette tip will be discarded into a semi-rigid container, and the capped multivette will be discarded into a biohazard bag), the tube lid will be closed securely, and the mixture will be incubated for 10-minutes. Following the incubation period, the tube will be centrifuged for 20 seconds, and the supernatant will be discarded into a liquid waste container. Nuclei Lysis Solution will be added to the tubes, capped, and vortexed thoroughly. The tube will be opened behind a benchtop shield. Protein Precipitation Solution will then be added to the tubes, capped securely, and vortexed vigorously for 10-20 seconds. Tubes will be centrifuged for 3-minutes, opened behind a benchtop shield, and the supernatant will be transferred to a new 1.5 mL tube that contains isopropanol, capped, and mixed by gentle inversion (old tubes containing the pellet will be capped and discarded into a biohazard bag). Tubes will then be centrifuged for 1-mintue, the supernatant discarded into a liquid waste container, and the tube will be allowed to air-dry for 15-minutes. DNA Rehydration Solution will then be added to the tubes, and the tubes will be placed into a biohazard labeled refrigerator for a minimum incubation period of 24 h. The immediate area of the DNA isolation procedure and all pipettes and centrifuges used in this procedure will be wiped down with a 1% sodium hypochlorite solution followed by 70% alcohol to remove the sodium hypochlorite. All pipette tips will be immediately discarded into a semi-rigid container after use. Liquid waste will be diluted with bleach to create a 1% sodium hypochlorite final solution that will stand for 10 minutes before being poured down the drain. The beaker containing the liquid waste will be washed using a 1% sodium hypochlorite solution.

General ELISA Protocol: An ELISA protocol will be used to measure biomarkers from saliva, isolated DNA, plasma, or serum. These protocols will take place in BHS ###, and research team members will wear the following personal protective equipment: gloves, laboratory coat, protective glasses. Once samples are added to the appropriate wells, sample tubes will be capped and the remainder will be discarded in a biohazard bag. The pipette tips used will be discarded into a semi-rigid container. Aspiration and washing steps will be completed manually using pipettes. Liquid waste will be collected into a waste receptacle. All pipettes used will be wiped down with a 1% sodium hypochlorite solution followed by 70% alcohol to remove the sodium hypochlorite. The liquid waste will be treated with bleach to create a 1% sodium hypochlorite solution that will stand for 10 minutes before being poured down the drain. The waste receptacle will also be washed using a 1% sodium hypochlorite solution. Upon completion of the assays, the liquid waste will be disposed of as described (treated with bleach to produce a 1% sodium hypochlorite solution that will stand 10 minutes before being poured down the drain), the 96-well microplate will be disposed of in a biohazard bag, and the microplate reader will be wiped down and disinfected using a 1% sodium hypochlorite solution followed by a 70% alcohol solution to remove the sodium hypochlorite.

Leukocyte Isolation Protocol: This protocol will take place in BHS ###, and research team members will wear the following personal protective equipment: gloves, laboratory coat, protective glasses. Whole blood will be added to a tube of red blood cell lysis buffer and allowed to incubate until red blood cells are lysed (generally 15 min). The tube will be centrifuged for 5 min and the supernatant discarded into a liquid waste container. The remaining white blood cells will be fixed with 3.7% formaldehyde (1:10 fresh dilution of standard 37% formaldehyde stock in 1 x PBS) for 30 minutes at room temperature. Flow cytometry staining buffer and appropriate antibody panel (which may include antibodies for phenotyping such as CD4, CD8, CD16, CD19; the analysis of cell death such as annexin-V, CD95; or the analysis of cell migration such as CX3CR1) is added to the cells tube, vortexed thoroughly, and allowed to incubate for at least 30 min. Tube is centrifuged, and the supernatant is discarded into the liquid waste container. Cells are resuspended in flow cytometry staining buffer, vortexed, and stored in a biohazard-labeled refrigerator until analyzed by flow cytometry. The immediate area of the leukocyte isolation procedure and all pipettes and centrifuges used in this procedure will be wiped down with a 1% sodium hypochlorite solution followed by 70% alcohol to remove the sodium hypochlorite. All pipette tips will be immediately discarded into a semi-rigid container after use. Liquid waste will be diluted with bleach to create a 1% sodium hypochlorite final solution that will stand for 10 minutes before being poured down the drain. The beaker containing the liquid waste will be washed using a 1% sodium hypochlorite solution.

3. Disease: The materials utilized in this procedure have the ability to cause disease in humans and/or animals. Describe the signs and symptoms of disease associated with these materials, attach reference if available:

Improper handling and disposal can result in the spread of disease by introducing pathogens into the environment and waste acting as a breeding ground for pathogens. This creates a very specific risk when the waste is human biological material or other bio-waste. Bacteria and viruses are high-risk causes of disease that are blood-borne and may be found in saliva or waste. Of particular concern are blood borne viruses that cause hepatitis and HIV.

4. Hazards: The materials and/or equipment associated with this procedure may present exposure hazards, health hazards, and/or physical hazards.  Identify potential exposures that may occur during sample preparation, and/or experimental manipulations (i.e., use of sharps, aerosol generation during centrifugation, mixing or sonication, etc.):

Universal precaution procedures will be used at all times.  Personal Protective Equipment (PPE) such as gloves, glasses and a laboratory coat will be worn during collection and manipulation of samples. Accidental needlestick during sample collection will be minimized through the use of safety guard puncture supplies (single-use lancet, and immediate disposal into red sharps container). There is the potential for splashing and aerosolization while opening microcentrifuge tubes , centrifuging, and after vortexing. Blood specimens will be enclosed in sealed microcentrifuge tubes during centrifugation as well as within a sealed rotor container inside the centrifuge during processing. Following vortexing steps, tubes will be opened either behind a benchtop shield (BHS ###) or in a class I BSC (MPE ###, ###). ELISA assays will be contained within the 96-well microplate through the use of a sealing film during the incubation portions of the assay.  Waste generated from washing will be discarded into biohazard containers. Once assays are completed, the plates will be discarded in biohazard containers. All potentially contaminted materials will be disposed of in biohazard containers  and sharps containers.

5. Administrative Controls: The following administrative controls are in place to avoid exposures (i.e., restricted entry, locked storage cabinets/refrigerators, SOP’s, etc.):

The Exercise Physiology Laboratories (MPE ###, MPE ###, and BHS ###) have Biohazard signs posted at all entrance doors. All laboratories have restricted entry. All personnel working with blood or saliva samples will have been trained by the Principal Investigator in Universal Precautions or have training as part of their professional licensure. No eating, drinking, smoking or handling contact lenses will be allowed in the laboratories, and signs are posted to this effect. Individuals working with blood must have blood borne pathogens training offered by Risk Management and Safety.

6. Engineering Controls: The following safety equipment must be used when carrying out this procedure. (i.e., chemical fume hood, biological safety cabinet, sealed centrifuge rotors, etc.):

Single use cryovials with a cap will be used for saliva collections and disposed of in biohazard containers. Single use lancets will be used for blood collection and disposed of in biohazard (red sharps) containers. Blood specimens will be enclosed in microcentrifuge tubes during centrifugation as well as within a sealed rotor container inside the centrifuge during processing. Tubes that have been vortexed will be opened behind a benchtop shield (BHS ###) or inside a class I BSC (Air Science, PurAir P5-24xT) (MPE ###, ###).

7. Protective Equipment: The following personal protective equipment must be worn when performing this procedure (type of glove, eye protection, laboratory coat, etc.):

Latex or nitrile gloves, laboratory coats, and eye protection (glasses, goggles, or face shield) will be worn at all times when collecting blood.  When manipulating blood specimens or uncapping microcentrifuge tubes, team members will wear eye protection, laboratory coats, and gloves. The laboratory coats are cloth and will be laundered as necessary by a commercial company recommended by UNLV Risk Management. PPE will be available at each  location and will not be worn outside of the laboratory or from one location to another.

8. Additional Special Handling Procedures: Include any transport between laboratories or buildings (i.e., secondary containment):

Transportation of samples between labs will be in sealed tubes with a secondary container (rigid securely latching container) labeled with biohazard symbols by trained personnel only. The secondary container will have absorbent material placed in it.

9. Decontamination/Clean-up Procedures: Specifics on products and procedures used to clean work areas. Include specifics on when these procedures will be performed and timing involved (i.e. contact time):

After specimens are collected, all discarded materials will be placed in biohazard containers and lancets  will be placed in biohazard sharps containers. After the whole blood is pipetted, the pipette tip will be discarded into a rigid container which will be discarded into a biohazard bag when two-thirds full, and the capped multivette will be immediately discarded into a biohazard bag. The immediate areas of manipulation will be washed and wiped down using a 1% sodium hypochlorite solution; and the centrifuge, pipettors, and plate reader will be washed and wiped down using a 1% sodium hypochlorite solution followed by 70% alcohol to remove the sodium hypochlorite by a member of the research team after blood collection and analysis are complete. All equipment and surfaces in the labs will be disinfected with the 1% sodium hypochlorite solution for no less than 10 minutes contact time and wiped down with paper towels.  The used paper towels will be placed into a biohazard bag.  Before leaving the laboratory, gloves will be disposed into biohazard containers and personnel will thoroughly wash their hands with disinfectant soap and warm water for a minimum of 20 seconds.  Assay plates will be placed in biohazard containers when analyses are complete, and pipette tips will be placed in a rigid container that will be disposed of in a biohazard bag when it is two-thirds full.

10. Labeling/Signage:  Include any required labeling and signage (i.e. universal biohazard symbol label at the entrance doors and biohazard labels on all equipment being used to store BSL-2 agents):

Biohazard symbols will be diplayed prominently on entrance doors, and containers will contain a biohazard label with the name of its contents.  Laboratory emergency personnel contact information will be posted at each location.

11. Waste Disposal Procedures: Include specifics on collection, deactivation and transport for disposal:

Lancets will be placed in a biohazard (red sharps) container. When the red sharps container is 2/3 full, the "full" container will be removed by UNLV Risk Management and a new container will be used for additional sharps disposal.  Biohazardous waste and contaminated material will be placed into a red biohazardous trash bin. Biohazard bags will be collected into the large biohazard trash containers. When biohazard and sharps containers are full (2/3) and/or when data collection is complete, the PI will call Risk Management for pick-up and proper disposal. A same-day waste pick up time will be scheduled in which Risk Management will obtain the waste at MPE and BHS laboratories. Republic Services Medical Waste Division processes any biomedical waste that will be generated. Liquid waste will be treated with bleach to create a 1% sodium hypochlorite final solution that will stand for 10 minutes before being poured down the drain.

12. Spill Response Procedures: Procedures to follow if a spill occurs. Procedures should include the materials that will be used to clean-up biological spills.  The Biological Spill Response Procedure should include the type of disinfectant that will be used.  A copy of the spill response procedure(s) should be available within the laboratory:

If a biological (blood or saliva) spill occurs, the immediate area will be saturated with the 1% sodium hypochlorite solution and soaked for a minimum of 10 minutes contact time. The area will then be wiped dry with paper towels, and the paper towels will be discarded into a biohazard bag before disposal. All laboratory personnel in the laboratory at the time of the spill will be notified of the event and the decontamination procedures being undertaken. The PI, If not present at the time of the spill, will be notified by telephone. If a spill occurs during transport between laboratories, we will follow the spill response procedures described in the Blood Borne Pathogens Training.

13. Injury/Exposure Response Procedures: Steps to be taken in the event of an exposure incident:

BHS ### has one sink for handwashing, safety shower, and eye wash station. MPE ### has one portable eyewash station, and sinks and showers are located in the locker room directly next door. MPE ### has one sink for handwashing. The PI is responsible for ensuring that the eyewash and shower are fully functional. Injury/exposure will be reported to the PI. First-Aid kits are available in each laboratoty for minor injuries. Depending on the severity of the injury/exposure, the affected individual may choose to be transported to a local quick care or emergency room for treatment. All injuries/exposures will be reported to RMS.

14. Unattended Operations: Portions of the experiment that may run unattended and steps taken to prevent accidental exposures:

No portions of this procedure will be unattended except for storage of samples (saliva, DNA, plasma, serum, isolated leukocytes) in the refrigerator/freezer. These refrigerator/freezer units are located in a locked and secured laboratory space (BHS ###) with restricted personnel access.

15. Inventory Control Measures for Attenuated Strains - Fill out section if applicable. If not applicable, then write not applicable (N/A):

- Include locations of locked storage rooms, cabinets, or freezers where attenuated strain(s) will be stored when not in use: N/A

- The following individuals can only access the attenuated strain: N/A

- Include how the inventory will be maintained and attach a copy of a blank inventory storage log sheet: N/A

16. Training:  Training courses will be taken by personnel performing this procedure (i.e. Biosafety Training, Chemical Hygiene Training, Bloodborne Pathogens Training) and additional training by PI/Supervisor:

Biosafety, Chemical Hygiene, Personal Protective Equipment, Radiation Safety for Unsealed Sources, and Bloodborne pathogens training will be completed by all personnel prior to working on this project. The PI will conduct project specific safety training and ensure that all individuals working on this protocol have read and signed these SOPs.

17. Laboratory Facilities:  Please check the items below that are available in the laboratory where the BSL-2 agent is used.

Entrance/Exit door(s) have locks

Sink for hand washing

Furniture that is easily cleaned and decontaminated

Biological safety cabinet(s) with current certification sticker

Eyewash station

Other:

18. Additional Laboratory Specific Safety Procedures:

1. Long hair will be tied back when working in the laboratory.

2. No make-up application will be allowed in the laboratory.

3. Contact lenses can be worn as long as the user wears safety glasses.

4. No open toe shoes will be allowed in the laboratory.

I have read and understood all portions of these SOPs.  I agree to contact the Principal Investigator should I have any questions or plan on making any modifications to the procedures detailed here.

| NAME | SIGNATURE | DATE |
| --- | --- | --- |

*Standard UNLV Biosafety Level 2 Practices and Procedures:

Biosafety Level 2 builds upon BSL-1. BSL-2 is suitable for work involving agents that pose moderate hazards to personnel and the environment. It differs from BSL-1 in that 1) laboratory personnel have specific training in handling pathogenic agents and are supervised by scientists competent in handling infectious agents and associated procedures; 2) access to the laboratory is restricted when work is being conducted; and 3) all procedures in which infectious aerosols or splashes may be created are conducted in BSCs or other physical containment equipment.

The following standard and special practices, safety equipment, and facility requirements apply to BSL-2:

A. Standard Microbiological Practices

1. The laboratory supervisor must enforce the institutional policies that control access to the laboratory.

2. Persons must wash their hands after working with potentially hazardous materials and before leaving the laboratory.

3. Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption must not be permitted in laboratory areas. Food must be stored outside the laboratory area in cabinets or refrigerators designated and used for this purpose.

4. Mouth pipetting is prohibited; mechanical pipetting devices must be used.

5. Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware must be developed and implemented. Whenever practical, laboratory supervisors should adopt improved engineering and work practice controls that reduce risk of sharps injuries.

Precautions, including those listed below, must always be taken with sharp items. These include:

a. Careful management of needles and other sharps are of primary importance. Needles must not be bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated by hand before disposal.

b. Used disposable needles and syringes must be carefully placed in conveniently located puncture-resistant containers used for sharps disposal.

c. Non-disposable sharps must be placed in a hard walled container for transport to a processing area for decontamination, preferably by autoclaving.

d. Broken glassware must not be handled directly. Instead, it must be removed using a brush and dustpan, tongs, or forceps. Plastic ware should be substituted for glassware whenever possible.

6. Perform all procedures to minimize the creation of splashes and/or aerosols.

7. Decontaminate work surfaces after completion of work and after any spill or splash of potentially infectious material with appropriate disinfectant.

8. Decontaminate all cultures, stocks, and other potentially infectious materials before disposal using an effective method. Depending on where the decontamination will be performed, the following methods should be used prior to transport:

a. Materials to be decontaminated outside of the immediate laboratory must be placed in a durable, leak proof container and secured for transport.

b. Materials to be removed from the facility for decontamination must be packed in accordance with applicable local, state, and federal regulations.

9. A sign incorporating the universal biohazard symbol must be posted at the entrance to the laboratory when infectious agents are present. Posted information must include: the laboratory’s biosafety level, the supervisor’s name (or other responsible personnel), telephone number, and required procedures for entering and exiting the laboratory. Agent information should be posted in accordance with the institutional policy.

10. An effective integrated pest management program is required.

11. The laboratory supervisor must ensure that laboratory personnel receive appropriate training regarding their duties, the necessary precautions to prevent exposures, and exposure evaluation procedures. Personnel must receive annual updates or additional training when procedural or policy changes occur. Personal health status may impact an individual’s susceptibility to infection, ability to receive immunizations or prophylactic interventions. Therefore, all laboratory personnel and particularly women of child-bearing age should be provided with information regarding immune competence and conditions that may predispose them to infection. Individuals having these conditions should be encouraged to self-identify to the institution’s healthcare provider for appropriate counseling and guidance.

B. Special Practices

1. All persons entering the laboratory must be advised of the potential hazards and meet specific entry/exit requirements.

2. Laboratory personnel must be provided medical surveillance and offered appropriate immunizations for agents handled or potentially present in the laboratory.

3. Each institution must establish policies and procedures describing the collection and storage of serum samples from at-risk personnel.

4. A laboratory-specific biosafety manual must be prepared and adopted as policy. The biosafety manual must be available and accessible.

5. The laboratory supervisor must ensure that laboratory personnel demonstrate proficiency in standard and special microbiological practices before working with BSL-2 agents.

6. Potentially infectious materials must be placed in a durable, leak proof container during collection, handling, processing, storage, or transport within a facility.

7. Laboratory equipment should be routinely decontaminated, as well as, after spills, splashes, or other potential contamination.

a. Spills involving infectious materials must be contained, decontaminated, and cleaned up by staff properly trained and equipped to work with infectious material.

b. Equipment must be decontaminated before repair, maintenance, or removal from the laboratory.

8. Incidents that may result in exposure to infectious materials must be immediately evaluated and treated according to procedures described in the laboratory biosafety safety manual. All such incidents must be reported to the laboratory supervisor. Medical evaluation, surveillance, and treatment should be provided and appropriate records maintained.

9. Animals and plants not associated with the work being performed must not be permitted in the laboratory.

10. All procedures involving the manipulation of infectious materials that may generate an aerosol should be conducted within a BSC or other physical containment devices.

C. Safety Equipment (Primary Barriers and Personal Protective Equipment)

1. Properly maintained BSCs (preferably Class II), other appropriate personal protective equipment, or other physical containment devices must be used whenever:

a. Procedures with a potential for creating infectious aerosols or splashes are conducted. These may include pipetting, centrifuging, grinding, blending, shaking, mixing, sonicating, opening containers of infectious materials, inoculating animals intranasally, and harvesting infected tissues from animals or eggs.

b. High concentrations or large volumes of infectious agents are used. Such materials may be centrifuged in the open laboratory using sealed rotor heads or centrifuge safety cups.

2. Protective laboratory coats, gowns, smocks, or uniforms designated for laboratory use must be worn while working with hazardous materials. Remove protective clothing before leaving for non-laboratory areas (e.g., cafeteria, library, administrative offices). Dispose of protective clothing appropriately, or deposit it for laundering by the institution. It is recommended that laboratory clothing not be taken home.

3. Eye and face protection (goggles, mask, face shield or other splatter guard) is used for anticipated splashes or sprays of infectious or other hazardous materials when the microorganisms must be handled outside the BSC or containment device. Eye and face protection must be disposed of with other contaminated laboratory waste or decontaminated before reuse. Persons who wear contact lenses in laboratories should also wear eye protection.

4. Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Alternatives to latex gloves should be available. Gloves must not be worn outside the laboratory. In addition, BSL-2 laboratory workers should:

a. Change gloves when contaminated, integrity has been compromised, or when otherwise necessary. Wear two pairs of gloves when appropriate.

b. Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.

c. Do not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.

5. Eye, face and respiratory protection should be used in rooms containing infected animals as determined by the risk assessment.

D. Laboratory Facilities (Secondary Barriers)

1. Laboratory doors should be self-closing and have locks in accordance with the institutional policies.

2. Laboratories must have a sink for hand washing. The sink may be manually, hands-free, or automatically operated. It should be located near the exit door.

3. The laboratory should be designed so that it can be easily cleaned and decontaminated. Carpets and rugs in laboratories are not permitted.

4. Laboratory furniture must be capable of supporting anticipated loads and uses. Spaces between benches, cabinets, and equipment should be accessible for cleaning.

a. Bench tops must be impervious to water and resistant to heat, organic solvents, acids, alkalis, and other chemicals.

b. Chairs used in laboratory work must be covered with a non-porous material that can be easily cleaned and decontaminated with appropriate disinfectant.

5. Laboratory windows that open to the exterior are not recommended. However, if a laboratory does have windows that open to the exterior, they must be fitted with screens.

6. BSCs must be installed so that fluctuations of the room air supply and exhaust do not interfere with proper operations. BSCs should be located away from doors, windows that can be opened, heavily traveled laboratory areas, and other possible airflow disruptions.

7. Vacuum lines should be protected with High Efficiency Particulate Air (HEPA) filters, or their equivalent. Filters must be replaced as needed. Liquid disinfectant traps may be required.

8. An eyewash station must be readily available.

9. There are no specific requirements on ventilation systems. However, planning of new facilities should consider mechanical ventilation systems that provide an inward flow of air without recirculation to spaces outside of the laboratory.

10. HEPA filtered exhaust air from a Class II BSC can be safely re-circulated back into the laboratory environment if the cabinet is tested and certified at least annually and operated according to manufacturer’s recommendations. BSCs can also be connected to the laboratory exhaust system by either a thimble (canopy) connection or a direct (hard) connection. Provisions to assure proper safety cabinet performance and air system operation must be verified.

11. A method for decontaminating all laboratory wastes should be available in the facility (e.g., autoclave, chemical disinfection, incineration, or other validated decontamination method).

* Adopted directly from Biosafety in Microbiological and Biomedical Laboratories, 5th Ed. U.S. Department of Health and Human Services, 2007